## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 1.80337 193.36 348.54 558.888 836.767 1051.31 1231.17 1380.93 | -0.632612 222.208 386.715 583.561 811.357 1001.6 1201.37 1401.24 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Leak | Leak | Leak | Leak | Leak | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Asty | Esty | Adyn | Crd | Csd | dCsd/dt | αVc | Edyn | Hr | Hs | dHs/dt | αVh | Leak | LeakPct | CorrFact | CorrFactPct | Fan | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | UseDynamic | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccCO2_soda | AccH2O_des | AccH2O_hum | CO2_hrs | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ s⁻¹ | cm³ | mmol m⁻² s⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ s⁻¹ | cm³ | µmol s⁻¹ | % |  | % | µmol s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ |  | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  | mmol mol⁻¹ | mmol mol⁻¹ min⁻¹ | mmol mol⁻¹ |  |  |  |  | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | mg | hrs | [18 empty] | V | % | % | µmol/mol | mmol/mol | µmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | % | bar: ADC_CH1 to DAC_4
1 | 1750620217.1 | 0 | 20250622 12:23:37 | 12:23:37 | 15 | 1750620209.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 405.7971 | 405.6212 | -0.00022175 | 66.976 | 0 | 14.3263 | 14.1363 | 6.2453e-05 | 79.0418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 1: Needles | 2 | FALSE | 1750620209.1 | 400.0741 | 400.0148 | 14.2462 | 14.324 | 397.6041 | 14.1432 | 800.0029 | 101.1326 | 0.099754 | 20.0606 | 20.3127 | 999.9 | 0 | 0 | 9991.5184 | 0 | 0.0015289 | -0.12805 | 405.6169 | 405.8279 | -0.19703 | 400.0148 | 14.324 | 1.4287 | 1.4486 | 12.2257 | 12.4364 | 999.9874 | 0.96 | 0.040004 | 0 | 1.931 | 0 | 414.9256 | 7946.7981 | 38.439 | 39.3143 | 39.1851 | 38.4372 | 37.659 | 959.9852 | 40.0026 | 0 | 1750620234.7 | 0 | 1750620233.1 | 12:23:53 | 1750620231.6 | 1750620233.1 | 1 | 0.187 | 0.117 | 2.47 | 0.103 | 400 | 14 | 0.39 | 0.13 | -0.18002 | 0.80727 | 0.086641 | 0 | -0.20027 | 0.055542 | 0.0054929 | 1 | 1 | 2 | 1/2 | 3.4479 | 2.7809 | 0.097744 | 0.098142 | 0.083099 | 0.083197 | 27434.2 | 31174.9 | 29513.9 | 35131.3 | 31284.2 | 39988 | 36324.7 | 46517.2 | 2.6492 | 2.4052 | 0.13981 | 0 | 18.0112 | 999.9 | 64.4 | 20 | 14.9437 | 61.89 | 27.6723 | 2 | -0.70245 | 0 | 20.2925 | 5.2161 | 11.968 | 4.9925 | 3.272 | 2489.5 | 9999 | 9999 | 999.9 | 4.9725 | 1.862 | 1.8637 | 1.8621 | 1.8622 | 1.8629 | 1.8593 | 1.8622 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 2.47 | 0.103 | 2.5637 | -0.0010337 | 9.1202e-07 | -2.2461e-10 | -0.124 | -0.018149 | 0.002092 | -1.9087e-05 | 2 | 2210 | 1 | 26 | 345393.9 | 345394 | 1.2329 | 2.3328 | 2.3474 | 2.8027 | 2.3987 | 2.2693 | 24.4698 | 15.0602 | 18 | 830.38 | 701.871 | 18.7829 | 17.8063 | 29.9999 | 17.71 | 17.6671 | 24.7211 | 0 | 20 | -999.9 | 400 | 13.0019 | 101.324 | 101.558
2 | 1750620375.6 | 158.5 | 20250622 12:26:15 | 12:26:15 | 15 | 1750620367.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 405.8559 | 402.8975 | 0.0018991 | 66.9816 | 0 | 14.4004 | 15.061 | 3e-05 | 79.0445 | 115 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 1: Needles | 2 | FALSE | 1750620367.85 | 396.8374 | 399.9943 | 15.0316 | 14.3974 | 394.3414 | 14.9296 | 799.9977 | 101.1314 | 0.10009 | 20.248 | 20.1867 | 999.9 | 0 | 0 | 9995.9573 | 0 | 0.0015289 | -3.1813 | 402.878 | 405.8372 | 0.65679 | 399.9943 | 14.3974 | 1.5224 | 1.456 | 13.1955 | 12.514 | 999.9963 | 0.95999 | 0.040006 | 0 | 1.3722 | 0 | 5403.7683 | 7946.8687 | 38.958 | 40.3414 | 39.9205 | 40.2414 | 38.3079 | 959.99 | 40.006 | 0 | 1750620393.1 | 0 | 1750620397.6 | 12:26:37 | 1750620392.1 | 1750620397.6 | 2 | 0.026 | -0.003 | 2.496 | 0.102 | 400 | 14 | 0.22 | 0.11 | -3.1622 | -0.29257 | 0.034613 | 0 | 0.65537 | 0.028324 | 0.0030639 | 1 | 1 | 2 | 1/2 | 3.4479 | 2.7807 | 0.097146 | 0.09815 | 0.086493 | 0.083507 | 27452.4 | 31175.8 | 29513.8 | 35132.4 | 31166.6 | 39977.1 | 36326.1 | 46520.4 | 2.4639 | 2.4046 | 0.13449 | 0 | 17.9785 | 999.9 | 62.1 | 20.1 | 14.4992 | 61.78 | 27.1434 | 2 | -0.70468 | 0 | 20.2924 | 5.2153 | 11.968 | 4.9926 | 3.272 | 2494.5 | 9999 | 9999 | 999.9 | 4.9725 | 1.862 | 1.8637 | 1.8622 | 1.8622 | 1.8629 | 1.8593 | 1.8622 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 2.496 | 0.102 | 2.7511 | -0.0010337 | 9.1202e-07 | -2.2461e-10 | -0.0072279 | -0.018149 | 0.002092 | -1.9087e-05 | 2 | 2210 | 1 | 26 | 2.4 | 2.4 | 1.2329 | 2.3425 | 2.3474 | 2.7991 | 2.3987 | 2.251 | 24.5717 | 15.0426 | 18 | 682.696 | 700.954 | 18.8866 | 17.771 | 30.0001 | 17.6855 | 17.6426 | 24.7205 | 0 | 20 | -999.9 | 400 | 13.0019 | 101.326 | 101.563
3 | 1750620537.6 | 320.5 | 20250622 12:28:57 | 12:28:57 | 15 | 1750620529.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 405.8359 | 400.7231 | -0.0019237 | 66.9794 | 0 | 14.4575 | 15.5463 | 1.4966e-05 | 79.0485 | 87 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 1: Needles | 2 | FALSE | 1750620529.6 | 394.6722 | 399.9862 | 15.5426 | 14.456 | 392.1002 | 15.4061 | 800.0145 | 101.1318 | 0.10003 | 20.3263 | 19.751 | 999.9 | 0 | 0 | 10009.1958 | 0 | 0.0015289 | -5.3874 | 400.8288 | 405.8533 | 1.0866 | 399.9862 | 14.456 | 1.5718 | 1.462 | 13.6856 | 12.576 | 999.9857 | 0.96001 | 0.03999 | 0 | 1.8902 | 0 | 6945.0403 | 7946.8381 | 39.5 | 41.028 | 40.516 | 41.278 | 38.911 | 959.9958 | 39.99 | 0 | 1750620555.1 | 0 | 1750620557.6 | 12:29:17 | 1750620557.6 | 1750620397.6 | 3 | 0.075 | -0.003 | 2.572 | 0.102 | 400 | 14 | 0.36 | 0.11 | -5.3506 | -0.75733 | 0.075858 | 0 | 1.087 | -0.0041833 | 0.0010761 | 1 | 1 | 2 | 1/2 | 3.4479 | 2.7808 | 0.096703 | 0.098132 | 0.0885 | 0.08375 | 27461.1 | 31176.1 | 29508.9 | 35132.3 | 31089.4 | 39967.2 | 36317.9 | 46521.1 | 2.5086 | 2.4031 | 0.1092 | 0 | 17.9454 | 999.9 | 61.4 | 20.2 | 14.4252 | 61.72 | 27.0753 | 2 | -0.70238 | 0 | 20.2924 | 5.2153 | 11.968 | 4.992 | 3.2719 | 2499.6 | 9999 | 9999 | 999.9 | 4.9725 | 1.862 | 1.8637 | 1.8622 | 1.8622 | 1.8629 | 1.8594 | 1.8622 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 2.572 | 0.1366 | 2.7772 | -0.0010337 | 9.1202e-07 | -2.2461e-10 | -0.010611 | -0.018149 | 0.002092 | -1.9087e-05 | 2 | 2210 | 1 | 26 | 2.4 | 2.3 | 1.2329 | 2.3352 | 2.3474 | 2.7978 | 2.3987 | 2.279 | 24.7143 | 15.0251 | 18 | 716.265 | 699.938 | 19.0027 | 17.8038 | 30.0003 | 17.7025 | 17.6584 | 24.7371 | 0 | 20 | -999.9 | 400 | 13.0019 | 101.305 | 101.564

## Remarks
File opened | 2025-06-21 11:52:48
Console s/n | 68C-373361
Console ver | Bluestem v.2.1.11
Scripts ver | 2023.02 2.1.11, Jun 2023
Head s/n | 68H-413349
Head ver | 1.4.23
Head cal | {"oxygen": "21", "co2azero": "0.969074", "co2aspan1": "1.00145", "co2aspan2": "-0.0293323", "co2aspan2a": "0.301932", "co2aspan2b": "0.299696", "co2aspanconc1": "2514", "co2aspanconc2": "296", "co2bzero": "1.01429", "co2bspan1": "1.00098", "co2bspan2": "-0.0286123", "co2bspan2a": "0.301091", "co2bspan2b": "0.298791", "co2bspanconc1": "2514", "co2bspanconc2": "296", "h2oazero": "1.06321", "h2oaspan1": "1.00793", "h2oaspan2": "0", "h2oaspan2a": "0.0675942", "h2oaspan2b": "0.0681305", "h2oaspanconc1": "11.66", "h2oaspanconc2": "0", "h2obzero": "1.06542", "h2obspan1": "1.00196", "h2obspan2": "0", "h2obspan2a": "0.0672478", "h2obspan2b": "0.0673797", "h2obspanconc1": "11.66", "h2obspanconc2": "0", "tazero": "0.100885", "tbzero": "0.175728", "flowmeterzero": "2.47802", "flowazero": "0.30464", "flowbzero": "0.31984", "chamberpressurezero": "2.62921", "ssa_ref": "32489.3", "ssb_ref": "40198.1"}
Factory cal date | 02 May 2024
CO2 rangematch | Tue May 7 10:16
H2O rangematch | Tue May 7 10:10
Chamber type | 6800-01A
Chamber s/n | MPF-742800
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-742800
Flr. Version | 1.4.23
11:52:48 | Stability Definition: ΔCO2 (Meas2): Slp<0.1 Per=20 ΔH2O (Meas2): Slp<0.1 Per=20